Date: ___________________Address: ______________________________________

Time: ________________________________________________________________

Description of Service below.

HOME INSPECTION APROXIMATELY 3 HOURS:

Page 1

INTERIOR:

. Stove Flame/Spark: ___________________________________________________

. Electric Stove, Coil Dish Condition. Coil Temperature: H____M_____L_________

. Oven Temperature @ 400 Degrees, Hood Vent Clean: _______________________

. Owner/Tenant Refrigerator Temperature.37 Degrees Recommended: ___________

. Owner/Tenant Freezer Temperature.0 Degrees Recommended: ________________

. Test Garbage Disposal: ________________________________________________

. Test GFI in Kitchen and Bathrooms: _____________________________________

. Kitchen: Sink, Facet drains clean: _______________________________________

. Dishwasher works, filter clean, heating element clean:_______________________

. Refrigerator: ____________________________

. Water Heater Temperature at Nearest Faucet: ____________ with Sc53 Field Piece

. Microwave, Test temperature of heated water @ 2 minutes: ___________________

. Bathrooms: Toilet flapper, Tub/Shower Valves, Drains flow: _________________         . Bathroom Sink, Facet drains clean: _______________________________________

. Corrosion, Mold/Mildew, Caulking: _____________________________________

. Tub Drain Stoppers working: ___________________________________________

. Cracked Glass/Mirror: ________________________________________________

. Smoke Detector and CO Test, Date, Replace Batteries: ______________________

. Ceiling Leaks, Stains: ________________________________________________

. Door Conditions: ____________________________________________________

. Flooring Conditions: _________________________________________________

. Wall Conditions, Color: _______________________________________________

. Animals Present: ____________________________________________________

. Pest Issues: ________________________________________________________

. Smell/Odor of Home: ________________________________________________

. Number of Occupants : ______________________________________________

. Windows open and shut: _____________________________________________

. Supplied/Tenant Washer Leaks: _______________________________________

. Supplied/Tenant Dryer Heats and is Vented. Clean Screen: __________________

. CO Metered: 15 Minute Timed Test. Including Boiling Water for Gas.

0-5ppm Normal / 35ppm NIOSH 8 Hour Exposure Limit / 200ppm NIOSH 15 MIN.

Exposure Limit: _____________________________________________________

. Exterior Temperature: ________________________________ with_Sc53 Field Piece

VENT SPEED

. Interior Temperature at Return and air speed: _______________________________

with CenTech InfaRed, BT 100

. Heating Temp at Living Room Vent and air speed: ___________________________

with CenTech InfaRed, BT100

. Temperatures at A/C and Heat Air Handler: _______________with Sc53 Field Piece

. A/C Living Room Supply Vent Temp and air speed: _________________________

with CenTech InfaRed, BT100

. A/C 18-20 Degree Split Normal: ______________________ with CenTech InfaRed

. Dining Room vent Temp: ______________________________________________

with CenTech InfaRed

. Kitchen vent Temp and air speed: _______________________________________

with CenTech InfaRed, BT100

. Master Bedroom and Bath vent Temp: ____________________________________

with CenTech InfaRed, BT100

. Hall Bathroom vent Temp: ___________________________ with CenTech InfaRed

. Bedroom 2 vent Temp and air speed: _____________________________________

with CenTech InfaRed, BT100

. Bedroom 3 vent Temp and air speed: _____________________________________

with CenTech InfaRed, BT100

. Bedroom 4 vent Temp and air speed: _____________________________________

with CenTech InfaRed, BT100

. A/C Refrigerant: ______________________________________________________

. A/C Pressures High side Running: ________________________________________

. A/C Pressures Low side Running: ________________________________________

. A/C Furnace Filter Condition, Size and Dated. Installed New Filter: _____________

. Water Heater Age, Capacity and Condition: ________________________________

. Drain Water Heater.___________________________________________________

. Check Furnace and Water Heater vents/bends for Soot/Rust.___________________

. Test Water Heater Expansion tank Pressure (Relieve pressure, water pressure and air

pressure should be the same 40-80 psi) ___________________________________

. Fireplace: ___________________________________________________________

. Return/Supply Air Vent Clean: __________________________________________

. Thermostat Batteries and Dated:_________________________________________

. Ceiling Fan Blade/Light Condition:_______________________________________

. Blinds Condition:_____________________________________________________

Project Source-Lowe's.

. Key number_________________________________________________________

. Moisture Meter: .5 Carpet, 11.5 Faux Wood Flooring: _______________________

. Video snake, Clean out dryer vents and screen. ____________________________

. Garage door and opener condition  ______________________________________

EXTERIOR:

. Roof Condition: ______________________________________________________

. Rain Gutter Condition: _________________________________________________

. Fencing Condition: _____________________Patio__________________________

. Paint and Siding Condition: _____________________________________________

. RV, Trailer, Disabled Vehicles: __________________________________________

. Exterior Screens: ______________________________________________________

.  Driveway Condition: ___________________________________________________

. Yard Condition, Weeds: ________________________________________________

. Sprinkler/Timer: ______________________________________________________

. Water Pressure: Pressure over 60 PSI may need expansion tank:________________

ONCE A YEAR:

Oil Indoor and Outdoor Air Handler Fan and Inducer motor :  ___________________

FLIR Test for Heat and Cooling loss: _______________________________________

Close Exterior Vents and Cover Spigots, Winters Check for drips, insulation on spigot crawl and sloped to drain to exterior and repair: ______________________________

Move inducer switch above inducer to prevent condensation.

2+1

HOME FAIR HOUSING SERVICE HISTORY:

Water Pressure/Volume:__________________________________________________

Drain/Sewer Size/Volume:________________________________________________

Clean Out Drain Lines Bi-Yearly:__________________________________________

Water Heater Capacity, Gas/Electric, Occupancy:______________________________

Power Issues, GFI:______________________________________________________

Heating/Cooling Issues, Secondary Appliance:________________________________

Gas Supply Issues:______________________________________________________

Appliance Issues:_______________________________________________________

Repair History from Last Inspection:________________________________________

INSPECTION WHEN VACANT:

Crawlspace:____________________________________________________________

Insulation Condition, Wire Support:_________________________________________

Pest Inspection, Fog:_____________________________________________________

Attic Inspection: ________________________________________________________

Change Locks: _________________________________________________________

Camera and Clean Dryer Ducts____________________________________________

Indoor/Exterior AC Coil camera Inspection.___________________________________

Change Locks: _________________________________________________________

Pack tools, Check Oven is off and get thermometers out of Fridge and Oven.:

Tools/Materials:

Field Piece 53 A/C/Temp Gauge with temperature

Centech Infrared A/C Heat Temperature Meter

Sensorcon Inspector CO Detector

Wire nuts

Mirror

T handle Allen wrench

Phillips 6 inch end

Dr. Meter MD 918 moisture meter

Elitech WJL6000 Refrigerant sniffer

Klien ET 310 Breaker finder w outlet tester

Glasses w light

Reading glasses

Pro Anemometer BT100 Air Speed

FLIR TG 130 Thermal

Klien ET 120 Natural/Propane Gas sniffer

Flashlights

Electric outlet tester

RainBird water pressure tester

Refrigerator and Oven Thermostat

Face Mask

Klien Tool 1010 wire stripper

Razor knife

Klien AC Clamp Tool CL200 w temp

Magnifying glass

Flat and Phillips screwdriver

Allen wrench set

Furnace gas tools

DXZtoz 50 ft. video camera snake

Klien 7 in 1 driver

Phone charger

Marker

Eye Glasses

Batteries: 9V, AA, AAA

Air Filters

Cup to test Microwave with water

AU Tool Monometer for gas pressure

Black Light

Temp meter w arm

Dryer clean out and Furnace Flue clean out

NEEDED REPAIRS:

NOTES:

PICTURES:

Hours: $

Materials: $

Fee: $

Total: $

Please make check payable to Michael Dudley.

Due upon completion.

Michael Dudley 702.301.1820

UPDATED 11.23